DEPARTMENT OF LICENSING AND REGUALTORY AFFAIRS

BUREAU OF COMMUNITY AND HEALTH SYSTEMS

MINIMUM STANDARDS FOR HOSPITALS

Filed with the secretary of state on

These rules take effect immediately upon filing with the secretary of state unless adopted under section 33, 44, or 45a(6) of the administrative procedures act of 1969, 1969 PA 306, MCL 24.233, 24.244, or 24.245a.  Rules adopted under these sections become effective 7 days after filing with the secretary of state.

(By authority conferred on the department of licensing and regulatory affairs by sections 2226(d), 2233, and 20171 of the public health code, 1978 PA 368, MCL 333.2226(d), 333.2233, and 333.20171,  Act No. 368 of the Public Acts  of  1978,  as amended; section 9 of the executive organization act of 1965, 1965 PA 380, MCL 16.109,Act No. 380 of  the  Public  Acts  of  1965,  as amended; and, Executive Reorganization Order Nos. 1996-1, 1996-2, 2003-1 and 2011-4, MCL 333.2226(d),  333.2233,  333.20171, 16.109, 330.3101, 445.2001, 445.2011, and 445.2030)

R 325.1001, R 325.1002, R 325.1003, R 325.1004, R 325.1005, R 325.1021, R 325.1022,

R 325.1023, R 325.1024, R 325.1025, R 325.1026, R 325.1027, R 325.1028, R 325.1051,

R 325.1052, R 325.1053, R 325.1054, R 325.1055, R 325.1056, R 325.1057, R 325.1058,

R 325.1059, R 325.1071, R 325.1081, and R 325.1100 of the Michigan Administrative Code are rescinded as follows:

PART 1. ADMINISTRATIVE RULES AND PROCEDURES

R  325.1001   Administration. Rescinded.

Rule 1. The state  health  commissioner  shall  administer  his  several responsibilities toward hospitals as an integral unit.

R  325.1002   Hospital committee. Rescinded.

Rule 2. (1) The state health commissioner, in a manner hereafter stated, shall appoint an advisory committee to  be  known  as  the  commissioner's hospital committee which will serve to advise him  on  the  administrative aspects of the responsibilities given under the above authority.

(2) The functions of the hospital committee shall be:

(a) To consider rules and regulations concerning  hospitals  promulgated in accordance with the above authority and any proposed revisions thereof, and to advise the state health commissioner regarding the same.

(b) To review all provisional  licenses  granted  by  the  state  health commissioner.

(c) To sit with the state health commissioner during his conduct of  any hearings concerned with the suspension, revocation, or denial of  licenses or certification.

(3) The state  health  commissioner  shall  appoint  9  persons  to  the hospital committee in the following manner: Five persons from a list of 10 hospital administrators or trustees submitted by the board of trustees  of the Michigan hospital association, 2 members from  the  list  of  hospital administrators or trustees submitted by the Michigan osteopathic  hospital association, and 2 members at large. In the case of appointments made upon nomination of the Michigan hospital association, at least 1 shall be  that of a licensed physician and 1 shall be that of a registered nurse. In  the case of appointments made by the Michigan osteopathic hospital association 1 shall be a licensed physician. The members of the committee shall  serve for 3-year terms, provided that, of those  first  appointed,  3  shall  be appointed for 1 year, 3 for 2 years, and  3  for  3  years.  The  hospital committee shall meet at least semiannually and otherwise at  the  call  of the state health commissioner or upon petition  of  the  majority  of  then members.

R  325.1003   Advice of state council of health. Rescinded.

Rule 3. If there should be substantial disagreement  between  the  state health  commissioner  and  the  hospital  committee,  the   state   health commissioner, either upon his own initiative or  at  the  request  of  the committee, shall present the matter to the state council  of  health,  his statutory advisory body.

R  325.1004   Special technical consultants. Rescinded.

Rule 4. The state health commissioner may appoint such special technical committees or consultants as may from time to time be indicated.

R  325.1005   Hearings. Rescinded.

Rule 5. (1) Any hospital aggrieved by any decision of the  state  health commissioner shall upon request be granted a hearing.

(2) Except in matters concerned with the spread of communicable disease, the state health commissioner  shall,  in  cases  of  proposed  denial  or revocation of a license, present  his  preliminary  decision  and  reasons therefor to the parties  concerned,  and  provide  an  opportunity  for  a hearing.

(3) Hearings required or requested under the terms of these rules  shall be held by the state health commissioner or his authorized representative.

(4) The commissioner's hospital  committee  shall  be  notified  of  and invited to attend all hearings.

(5) The hearings will be informal, and full opportunity  will  be  given all  concerned  to  question  the  state  health   commissioner or  his representative.

(6) After the hearing, the state health commissioner will ask the advice of his hospital committee as to the disposition of the case.

(7) If the state health commissioner is unable to accept said advice, he shall present a summary of all facts, together  with  the  advice  of  the hospital committee, to the state council of health before making  a  final decision.

PART 2. LICENSURE AND REPORTS FOR MATERNITY HOSPITALS

PART 3. OPERATIONAL RULES AND MINIMUM STANDARDS FOR ALL HOSPITAL PHYSICAL PLANT, FACILITIES, EQUIPMENT, AND OPERATIONS

R  325.1021   Compliance with law and regulations. Rescinded.

Rule 21. (1) The hospital shall comply with the housing law of Michigan.

(2) The hospital shall comply with the requirements of  the  state  fire marshal.

(3) The hospital shall comply with the state plumbing code.

(4) The hospital shall comply  with  the  requirements  of  the  federal department of health, education, and welfare as set forth  in  its  latest publication  entitled  "Health  Insurance  for  the  Aged--Conditions   of

Participation for Hospitals," a copy of which  is  kept  on  file  in  the bureau of medical care administration of the department of  public  health at Lansing, Michigan.

R  325.1022   Water and ice supply. Rescinded.

Rule 22. (1) A public water supply shall be used if available.

(2) The location and construction of a well, and the  operation  of  the system, shall comply with standards approved for public water supplies  by local and state health departments.

(3) The entire plumbing system and all plumbing facilities shall  be  so designed  and  maintained   that   the   possibility   of   back-flow   or back-siphonage shall be reduced to a minimum.

(4) There shall be no physical  cross-connection  between  water  supply systems that are safe for human use and those that are or may at any  time become unsafe for human use.

(5) All  ice  used  in  contact  with  food  or  drink  shall  be  clear manufactured ice made from water from a source approved by the  state  and local health departments and handled  in  such  a  manner  as  to  prevent contamination.

(6) All ice containers shall be kept clean.

R  325.1023   Sewage, garbage, and waste disposal. Rescinded.

Rule 23. (1) All liquid waste shall be discharged into a  public  sewage system whenever available.

(2) When a private sewage disposal system is required, the  type,  size, and construction shall meet with the  approval  of  the  local  and  state health departments.

(3) The collection, storage, and disposal of all garbage shall  be  done in a manner that will  not  permit  the  transmission  of  a  communicable disease, create a nuisance, or provide  a  breeding  place  for  flies  or rodents.

(4) Containers for  garbage  shall  be  watertight,  have  tight-fitting covers to prevent the entrance of flies, and be rodent-proof.

(5) Garbage containers  shall  be  emptied  at  frequent  intervals  and thoroughly cleansed and aired before further use.

(6)  Facilities  shall  be  provided  for  the  disposal  of  infectious dressings, surgical and  obstetrical  wastes,  and  similar  materials  by incineration or in a manner approved by the state health commissioner.

R  325.1024   Laundering and sterilization  of  linens;  sterilization  of  instruments and utensils. Rescinded.

Rule 24. (1) The hospital shall make arrangements for the laundering  of linens and other washable goods.

(2) There  shall  be  provision  for  the  sterilization  of  dressings, utensils, instruments, and water.

(3) The hospital shall maintain  a  check  on  the  performance  of  all sterilizing equipment.

(4) Special precautions shall be taken so that sterile supplies may  not be mixed with unsterile supplies.

R  325.1025   Heating and ventilating. Rescinded.

Rule 25. (1) The temperature in patients' rooms shall be  maintained  at approximately 72 degrees Fahrenheit throughout the heating season.

(2) A minimum temperature of 75 degrees Fahrenheit shall  be  maintained in all hospital nurseries.

(3)  The  hospital  ventilating  system  shall  be  regulated  so   that objectionable drafts shall not be created.

R  325.1026   General maintenance. Rescinded.

Rule 26. (1) Equipment, floors, walls, and ceilings shall be kept clean.

(2) Food service areas, all equipment, and work surfaces shall  be  kept clean.

(3) Handwashing facilities shall be convenient to each food  preparation or serving area:

(a) Tempered running water, soap, and towels shall be available  in  all kitchens, including diet kitchens, and in washrooms used by food handlers.

(b) The use of a common towel is prohibited.

(4) Food storage areas and refrigeration shall be provided:

(a) Storerooms shall be clean and well ventilated.

(b) Stored food shall be protected from dust,  flies,  rodents,  vermin, unnecessary handling,  droplet  infection,  overhead  leakage,  and  other sources of contamination.

(c) Refrigerated storage space shall be kept at approximately 40 degrees Fahrenheit.

(d) A reliable thermometer shall be installed in each refrigerator.

(e) Refrigerators shall be kept clean.

(f) Prepared foods shall be kept covered.

(5) All dishes and utensils used in storage, preparation, or serving  of food and drink shall be sanitized and kept clean:

(a) The use of dish towels for drying dishes is forbidden.

(b) Kitchens and utility rooms shall be provided as needed.

(6) Whenever insects are prevalent all  used  openings  to  the  outside shall be screened with wire screen or its equal  with  not  less  than  16 meshes per lineal inch.

(7) Insects, such as flies, roaches, and mosquitoes, shall  be  properly controlled.  All  breeding  places  for  flies  and  mosquitoes  shall  be eliminated from the premises.

(8) All openings where rats or mice may gain entrance  to  the  building shall be screened or safely guarded to prevent entrance of  such  rodents. All rodent control programs shall be carried on in a safe manner.

R  325.1027   Patient care. Rescinded.

Rule 27. (1) All persons admitted to  a  hospital  shall  be  under  the continuing daily care of a physician licensed to practice in Michigan.

(a) The hospital shall require that an admitting diagnosis  be  recorded promptly on each patient.

(b) There shall be a written hospital policy denoting when  consultation should be held. Consultation shall be recorded.

(c) No medication or treatment shall be given to any patient  except  on the written order of a physician.

(d) Verbal orders for medication, whether given over  the  telephone  or otherwise, shall be written into the record as such.

(e) Verbal orders, whether given over the telephone or otherwise,  shall be received only by a person or persons approved  and  authorized  by  the administrator and by the medical staff, and shall be indicated  as  verbal orders, initialed by the physician's initials per the receiver's  initials and countersigned by the physician at the time of the next visit.

(2) The hospital shall provide personnel, space, equipment, and supplies for routine laboratory analyses. It shall utilize regularly  the  services of an experienced pathologist for the examination of tissue  suspected  of being diseased, except tonsils, removed at operations.

(3)  Equipment   shall   be   provided   for   diagnostic   radiographic examinations. The hospital shall require that the responsibility for  film interpretation and  the  proper  protection  against  radiation,  electric shock, and combustion of stored film shall  be  assigned  to  the  general supervision of  a  licensed  physician  with  training  or  experience  in radiology.

(4) The hospital shall employ professional and  auxiliary  personnel  to give patients necessary services.

(a) The nursing service shall be in  the  charge  of  a  graduate  nurse registered to practice in Michigan.

(b) Each nursing shift shall be  personally  supervised  by  a  graduate nurse registered to practice in Michigan.

(c) Personnel assigned to the maternity service, including  the  formula room, and all food handlers shall have a written record of  pre-employment and annual physical examination.

(i) Persons found upon  examination  to  have  conditions  dangerous  to patients shall be removed from assignment until recovery.

(ii) All persons with  respiratory,  skin,  gastrointestinal,  or  other communicable infection shall be excluded from working on  these  services.

(d) Duty in the nursery or in food handling areas shall not  be  resumed until the administrator or his agent has  a  medical  statement  based  on appropriate physical examination and tests to the effect  that  return  to duty is safe.

(5) Meals provided for the various types of patients shall be planned in accordance with the recommended daily allowances of the national  research council.

(a) Only pasteurized milk and milk products or evaporated or dried  milk shall be used.

(b) Meals shall be prepared and served in a sanitary manner.

(c) Food returned from patients' trays is  considered  contaminated  and shall not be re-served.

(6) Rooms for adult patients shall provide a minimum of 80  square  feet of floor space per bed. In multiple bedrooms, beds shall  be  at  least  3 feet apart.

(7) There shall be sufficient equipment for care according to  the  type of patients accepted by the hospital.

(a) Individual linens shall be provided each patient.

(b) A wash basin, emesis basin, bedpan, and  when  indicated,  a  urinal shall be immediately available for each patient. Bedside  equipment  shall be sterilized or sanitized between patients in a manner  approved  by  the state health commissioner.

(c) There shall be at least as many thermometers available as there  are patients.

(d) Autoclaves and other sterilizers shall be provided as needed.

(e) Each hospital shall have facilities for blood transfusions.

(f) Each  hospital  shall  have  facilities  for  immediate  intravenous therapy and for the administration of parenteral fluids,  including  blood substitutes.

(8) Rules governing visitors shall be posted in a conspicuous place.

(9) Hospitals shall isolate patients with communicable disease, carriers of communicable  diseases,  or  those  suspected  of  having  communicable diseases.

(a) A lavatory and a toilet shall be provided within the isolation area.

(b) The  hospital  shall  make  written  policies  concerning  isolation techniques available to all personnel concerned.

R  325.1028   Records. Rescinded.

Rule 28. (1) The hospital  shall  require  that  accurate  and  complete medical records be kept on all patients admitted.

(2) Patients' records shall include the following:

(a) Admission date.

(b) Admitting diagnosis.

(c) History and physical examination.

(d) Physician's progress notes.

(e) Operation and treatment notes and consultations.

(f) The physician's orders.

(g) Nurse's notes including temperature, pulse, respiration,  conditions observed and medication given.

(h) Record of discharge or death.

(i) Final diagnosis.

(3) Additional records of patients  having  surgery  shall  include  the following:

(a) Details of the preoperative study and diagnosis.

(b) The preoperative medication.

(c) The name of the surgeon and his assistants.

(d) The method of anesthesia.

(e) The amount of anesthetic when measurable.

(f) The name of the anesthetist.

(g) The postoperative diagnosis, including pathological findings.

(4) The report of special examinations, such as  laboratory,  x-ray  and pathology, shall be kept in the patient's record.

(5) Medical records shall be preserved as original  records,  abstracts, microfilms or otherwise and shall be such as  to  afford  a  basis  for  a complete audit of professional information.

(6) The administrative records  of  the  hospital  shall  include  as  a minimum:

(a) Records of admissions and discharges.

(b) Patient's records.

(c) Daily census records.

(d) Narcotic register.

(e) Statistics regarding number of deaths.

(f) Statistics regarding number of autopsies.

ADDITIONAL REQUIREMENTS FOR MATERNITY HOSPITALS AND DEPARTMENTS

R  325.1051   Physical plant. Rescinded.

Rule 51. The physical plant shall provide the following in  addition  to the requirements of R 325.1021, R 325.1022,  R 325.1023,  R 325.1025,  and R 325.1026:

(a) A hospital providing maternity care shall provide for segregation of maternity patients from other patients by section, wing, or floor,  except when the director, upon the application of a hospital,  grants  permission to  use  surplus  maternity  beds  in  the  postpartum  suite  for   clean gynecological patients. Such permission shall be subject to the  following restrictions:

(i) The hospital shall  have  registered  500  or  more  births  in  the preceding calendar year.

(ii) The hospital shall have 3 or more postpartum  maternity  beds  over and above the number required to provide  adequately  for  all  postpartum patients as determined by the director.

(iii) The hospital shall have maintained a minimum 85% average occupancy in its medical or surgical beds in the preceding year.

(iv) The average length of stay for all patients shall  not  exceed  9.0 days in the preceding calendar year, except that a hospital with a  higher average length of stay shall be given an opportunity to justify its longer average length of stay when a denial is based on this standard.

(v) The hospital shall be free from major physical plant or  operational deficiencies and items of noncompliance as determined by the director.

(vi) The hospital shall have submitted a written plan, acceptable to the director, which demonstrates to his satisfaction that  alternatives,  such as consolidation of hospital  obstetrical  and  newborn  services  in  the

community or the reduction of postpartum maternity beds by  assignment  of surplus beds to another nursing unit, are not feasible or  practical.  The plan  shall  designate  the  rooms  and  beds  to  be  utilized  by  clean gynecological patients, and indicate that such patients  admitted  to  the surplus postpartum beds will not be patients with active infection, either acute or chronic; frank malignancy other than carcinoma in situ;  patients admitted for radiotherapy; or patients already in the hospital who are  on any other service, including the gynecological service.

(vii) The written plan submitted by a hospital shall  be  acceptable  to the director from the standpoint of protecting the health of  mothers  and babies, as well as other hospitalized patients, and shall demonstrate  the development and implementation of  effective  medical  and  administrative controls to carry out the plan.

(viii) The plan, if approved by the director, shall be in effect  during the license year in which it is issued.  Requests  for  extension  of  the plan, or any modification thereof, shall  be  submitted  annually  to  the

director with a  hospital's  application  for  renewal  of  licensure  and certification.

(b) Separate toilet facilities shall be provided for maternity patients.

(c) There shall be a separate delivery room.

(d) Separate nurseries shall be provided unless complete facilities  for "rooming-in" are available.

(e) Each nursery shall have a minimum floor space of 24 square feet  per bassinet. Bassinets shall be placed not less  than  2 feet  apart  with  a minimum of 3 feet between rows.

(f) A private room with a lavatory and a toilet shall be  available  for the isolation of any mothers with infection, fever, or diarrhea.

(g) There shall be an isolation nursery or a private room  with  running water available for the isolation of infants.

R  325.1052   Minimum policies. Rescinded.

Rule 52.  The  following  minimum  policies  shall  be  established  and observed:

(a) The hospital shall require that there be  staff  policies  regarding the use and administration of analgesics and anesthetics, and the policies shall be posted in all delivery units.

(b) The hospital shall require that there be staff  policies  concerning the use of pituitrin extracts and other oxytocics during  each  of  the  3 stages of labor, and the policies shall be posted in all  delivery  units.

(c) The use of analgesics, anesthetics, pressure on the fetal  head,  or holding the mother's legs together to prevent birth before the arrival  of the doctor is prohibited.

(d)  All  newborn  infants  born  outside  the  hospital,  infants  with infection, or infants with conditions potentially harmful to others  shall be admitted to the isolation nursery or private room with running water in the obstetric or pediatric department, and shall never be  transferred  to the well-baby nursery.

(i) The state health director may designate a  hospital  to  maintain  am neonatal intensive care unit or special newborn nursery unit  as  part  of the department's regional perinatal intensive care program.

(ii) The unit shall be under the direction of a physician who is a board eligible or certified neonatologist, or whose experience,  qualifications, and training are accepted in writing by the  state  health  director.  The unit shall be under supervision of a nurse prepared at the master's  level in maternal and infant care,  or  whose  experience,  qualifications,  and training are accepted in writing by the state health director.

(iii) The state health  director  may  authorize  the  neonatologist  or physician director to transfer  convalescent  infants  to  the  hospital's newborn nursery, or the newborn nursery of another hospital, pursuant to a written plan approved by the  neonatologist  or  physician  director,  the

governing bodies of the involved hospitals, and the state health director.

(e) A  patient  who  is  pregnant  may  be  admitted  to  the  maternity department during any stage of pregnancy, including an ectopic  pregnancy, or following abortion.

(f) Any mother with infection, fever, or diarrhea shall be isolated in a separate room which is equipped with a lavatory and a toilet.

(g) Whenever it becomes necessary for the same nursing personnel to care for both well and infected mothers or  infants  or  other  than  obstetric patients, individual isolation techniques shall be employed.

(h) A graduate nurse registered in Michigan  shall  supervise  the  care given in the maternity department.

(i)  All  personnel  entering  the  nursery,  including  physicians  and cleaning people, shall be free from the symptoms of infection, fever,  and diarrhea, and shall wear clean, fresh gowns.

R  325.1053   Required equipment and supplies. Rescinded.

Rule 53. The hospital shall provide all of the following  equipment  and supplies:

(a) Equipment for individual breast care.

(b) Equipment for individual perineal care.

(c) All of the following items for the immediate  care  of  the  newborn infant shall be assembled in the delivery room:

(i) An incubator or heated bed.

(ii) A warm sterile receiving blanket.

(iii) Available oxygen.

(iv) A suction device for the  gentle  aspiration  of  the  pharynx  and trachea.

(v) A newborn eye prophylaxis, as specified in R 325.60, which  is  kept in the original and dated container.

(vi) Equipment for the care of the cord.

(vii) Identification equipment.

(d) All nurseries shall be equipped for individual care of  the  infants in their bassinets and shall contain all of the following:

(i) A 24-hour supply of linen provided by the hospital.

(ii) A lavatory with tempered running water.

(iii) Soap and individual towels in a towel dispenser.

(iv) Hampers for soiled linen other than diapers.

(v)  Receptacles  for  soiled  diapers  with   impervious   liners and foot-controlled covers.

(vi) A suction device for the  gentle  aspiration  of  the  pharynx and trachea.

(vii) Available oxygen.

R  325.1054   Postdelivery procedures. Rescinded.

Rule 54. The following techniques shall be  observed  in  the  immediate care of newborn infants:

(a) The eyes of the newborn infant shall be treated within an hour after birth with a  newborn  eye  prophylaxis  as  specified  in  R 325.60.  The prophylaxis is to be kept in the original and  dated  container.  Outdated approved eye medication shall not be used.

(b) Every infant shall be  identified  by  1 or  more  of  the  reliable methods in common use before the infant is removed from the delivery room. This information shall be sufficient to identify the infant with  1 mother only. If written tags are used, identification shall be in waterproof ink.

(c) Provision shall be made for keeping the infant  warm  and  protected from exposure to infection during transit from the delivery  room  to  the nursery and at any other time the baby is removed from the nursery.

R  325.1055   Nursery procedures. Rescinded.

Rule 55. The following procedures shall be observed in nurseries:

(a) If nursery lavatory faucets are not elbow, foot, or knee  controlled the water shall be left running during  all  periods  of  infant  care  or sterile paper lifters shall be used each time  the  hands  manipulate  the faucet control.

(b) Each bassinet shall be marked with the mother's name and the  baby's birth date.

(c) Each infant shall be given completely individual  care  in  his  own bassinet.

(d) The use of a common carrier for transporting babies  is  prohibited.

(e) Receptacles for soiled diapers shall be kept covered.

(f) An immediate report of inflammation  or  pus  in  the  eyes  of  the newborn infants shall be made to  the  physician  in  charge  and  to  the hospital administrator.

R  325.1056   Formulas and water solutions for infant feeding. Rescinded.

Rule 56. (1)  Infant  formulas  and  water  solutions  prepared  in  the hospital for use in infant  feeding  shall  be  made  and  used  with  the following restrictions:

(a) A separate room shall be provided  for  the  preparation  of  infant formulas and water solutions and shall be reserved for this purpose  only.

(b) The formula room shall contain a  handwash  lavatory  with  tempered running water, soap, and  individual  towels  in  a  towel  dispenser  for hand-washing.

(c) The formula room shall have a double compartment sink with  hot  and cold running water for use in the preparation of infant formulas and water solutions.

(d) The formula room shall contain  enclosed  cabinets  for  storage  of supplies used in the preparation of infant formulas and  water  solutions.

(e) Cleaning supplies used in the formula room  shall  be  stored  in  a separate cabinet clearly identified for this purpose only.

(f) A refrigerator shall be available exclusively  for  the  storage  of infant formulas and water solutions requiring refrigeration.

(g) After nippling and capping each individual unit of infant formula or water solution prepared in the formula room, the unit shall  be  subjected to a terminal sterilizing process at a minimum of 230  degrees  Fahrenheit at 7 pounds pressure for 10 minutes.

(h) Nipples shall not  be  changed  following  sterilization.  Provision shall be made to protect the sterility of the units in transportation from the formula room to the infant.

(i) The sterility of infant formulas and water solutions prepared in the formula room and the attached nipples shall be  checked  by  bacteriologic methods at least once a month.

(j) Records of the bacteriologic check  of  infant  formulas  and  water solutions prepared in the formula room and the attached nipples  shall  be maintained for 1 year from the date of bacteriologic check.

(k) The hospital shall develop and have available written  policies  for the preparation, storage, distribution, and use  of  infant  formulas  and water solutions prepared in the formula room.

(2) Commercially prepared and  prepackaged  infant  formulas  and  water solutions used for  infant  feeding  shall  be  used  with  the  following restrictions:

(a) The director of public health shall approve each  type  of  packaged unit of commercially prepared and prepackaged  infant  formula  and  water solution before it can be used for infant feeding.

(b) Disposable  components  of  commercially  prepared  and  prepackaged infant formula and water solution units shall not be reused.

(c) Enclosed cabinets shall be provided for the  short-term  storage  of commercially prepared and prepackaged infant formulas and water  solutions removed  from  their  original   shipping   carton   and   not   requiring refrigeration.

(d) Nipples shall not be  changed  following  assembly  of  commercially prepared and prepackaged infant formula and water solution units.

(e) A refrigerator shall be available exclusively  for  the  storage  of infant formulas and water solutions requiring refrigeration.

(f) Provision shall be made to protect the sterility of the commercially prepared  and  prepackaged   formula   and   water   solution   units   in transportation from the point of unit assembly to the infant.

(g) The hospital shall develop and have available written  policies  for the storage, assembly, distribution, and use of commercially prepared  and prepackaged units of infant formula and water  solution  used  for  infant feeding.

R  325.1057   Care of mothers. Rescinded.

Rule 57. The care of mothers shall include:

(a) Individual perineal care.

(b) Individual breast care.

R  325.1058   Mothers' records. Rescinded.

Rule 58. (1) Mothers' records shall contain:

(a) Past history, including:

(i) Number, complications, and outcome of all previous pregnancies.

(ii) Number of now living children.

(iii) Type of previous deliveries.

(iv) Birth weights of infants.

(v) Date of delivery of last viable fetus.

(vi) Significant past medical and family history.

(vii) Weight before present pregnancy.

(viii) Weight gain during this pregnancy.

(b) The following information about the present pregnancy and labor:

(i) Prenatal complications.

(ii) History of recent exposure to communicable disease or diarrhea or other communicable disease in the mother or family.

(iii) Time of onset of labor.

(iv) Frequency and intensity of contractions.

(v) Condition of the membranes.

(vi) Any symptoms of toxemia.

(vii) Amount and character of any bleeding.

(viii) Time and amount of last meal.

(2) Except in emergencies, the  patient's  admission  examination  shall record the following information:

(a) Temperature, pulse, respiration and blood pressure.

(b) Weight.

(c) Skin lesions, degree of edema, condition of the throat,  lungs,  and heart.

(d) Presentation and position of the fetus.

(e) The rate and character of the fetal heart.

(f) A urine analysis.

(g) An estimation of the degree of engagement of the presenting part and the amount of cervical effacement dilation.

(h) A determination of the pelvic measurements, if not already done.

(3) A delivery room record book shall be maintained  with  chronological entries of all deliveries including items pertinent to the history of each delivery.

(4) Each maternity record shall contain a physician's signed  report  of the physical condition of the mother immediately before she is  discharged from the hospital.

R  325.1059   Infants' records. Rescinded.

Rule 59. (1) Records of infants shall include information sufficient  to duplicate a birth certificate. This information shall be recorded  in  ink within 48 hours after the birth of each infant.

(2) The record of each newborn  infant  shall  contain  the  physician's signed report on the physical condition of the infant  immediately  before the infant is discharged from the hospital.

(3) Infants' records shall be separate from mothers' records.

R  325.1071   Definition of hospital. Rescinded.

Rule 71. A hospital is:

(1) An establishment which meets the definitions of a maternity hospital as given in Act No. 263 of the Public Acts  of  1913,  being  S331.401  et seq. of the Michigan Compiled Laws.

(2)  An  establishment  offering  in-patient   services   and   physical facilities to  4  or  more  nonrelated  individuals  requiring  diagnosis, treatment, or care for a period of more than 24 hours. Such  establishment

shall make readily available therein  at  least  clinical  laboratory  and diagnostic x-ray services, as well as facilities  for  definitive  medical and surgical treatment.

(3)  An  establishment  offering  in-patient   services   and   physical facilities in one of the recognized  medical  specialties  to  4  or  more nonrelated individuals  requiring  diagnosis,  treatment,  and  continuing

daily  care  of  physicians  licensed  to  practice  in  Michigan,   which establishment shall make readily available  therein  facilities  necessary for definitive treatment in the recognized speciality; provided  that  the Michigan department of health's written evaluation  of  the  establishment shall be reviewed by  the  commissioner's  hospital  committee,  favorably recommended to the commissioner, and subsequently approved by  him  before certification.

R  325.1081   Additional requirements for hospitals. Rescinded.

Rule 81. (1) The medical care available for  children  in  the  hospital shall be found to be satisfactory in the judgment  of  the  chief  of  the bureau of maternal and child health of the department.

(2) Patients 12 years of age and under shall be cared for in a pediatric unit which meets the following requirements:

(a) It shall be segregated from the adult unit and consist of at least 2 rooms.

(b) Each room shall have a hand wash lavatory with gooseneck outlet  and wrist, knee or foot controls.

(c) At least 1 room shall be available for use as an isolation room  and shall have a toilet in addition to the lavatory for handwashing.

(d) A multipatient room shall provide a minimum  of  80 square  feet  of floor space per bed or crib, and a single room shall  provide  100  square feet of floor space per bed or crib.

(e) A multipatient room shall provide a minimum work clearance of 3 feet around beds, cribs, and bassinets.

(f) A room used for bassinets shall provide a minimum area of  40 square feet per bassinet.

(3) A pediatric unit of  16  beds  or  more  shall  meet  the  following additional requirements:

(a) A graduate professional nurse currently  registered  in  this  state shall be assigned to the unit at all times and be responsible for  nursing care in the unit.

(b) The unit shall have a separate nursing station.

(c) The unit shall have utility rooms.

(d) The unit shall have a room for examinations and treatments.

(e) The unit shall have a playroom.

(f) The unit shall have bathroom facilities.

(g) The unit shall have provisions for storage and distribution of  food and nourishment.

(h) The unit shall provide space for  storage  and  a  janitor's  closet shall be located in the unit or close by.

(4) A hospital providing care for premature infants shall have at  least 2 incubators and other equipment, facilities, and personnel  necessary  to adequately care for these infants.

R  325.1100   Licensing of hospitals. Rescinded.

Rule 100. (1) Until such  times  as  rules  are  promulgated  under  the authority of section 5 of Act No. 17 of the Public Acts of 1968, licensing of all hospitals shall be based upon compliance with the minimum standards for hospitals set forth  in  R 325.1001  to  R 325.1081  of  the  Michigan Administrative Code.

(2) An application for a license shall be made on forms  authorized  and provided by the director of public health and shall be completed in  full.